## Zabbix_agent
Items |  |  | Triggers |  |  | Remark | Description
Name | ○/× | Key | Expression | Messages | Severity
agent.ping | ○ | agent.ping | {zabbix1-8:agent.ping.nodata(600)}=1 | [zabbix1-8] zabbix.agent stopped. | High |  | Check the agent usability. Always return 1. Can be used as a TCP ping.
|  |  | {zabbix1-8:agent.ping.nodata(600)}=0 | [zabbix1-8] zabbix.agent started. | Info
agent.version | ○ | agent.version | {zabbix1-8:agent.version.diff(0)}>0 | Version of zabbix_agent(d) was changed on {HOSTNAME} | Average |  | Version of zabbix_agent(d) running on monitored host. String value. Example of returned value: 1.1
kernel.maxfiles | ○ | kernel.maxfiles | {zabbix1-8:kernel.maxfiles.last(0)}<512 | Configured max number of opened files is too low on {HOSTNAME} | High |  | Maximum number of opened files supported by OS.
kernel.maxproc | ○ | kernel.maxproc | {zabbix1-8:kernel.maxproc.last(0)}=32768 | Number of max process supported by kernel is :{ITEM.VALUE} | Info
net.if.collisions[if] | ○ | net.if.collisions[eth0] | {zabbix1-8:net.if.collisions[eth0].count(0)}>0 | trigger_network_collision_occur | Warning |  | Out-of-window collision. Collisions count.
net.if.in[if <,mode>] | ○ | net.if.in[eth0,bytes] | {zabbix1-8:net.if.in[eth0].last(0)}<6000000 | Network incoming is normal | Info |  | Network interface input statistic. Integer value. If mode is missing bytes is used.
|  |  | {zabbix1-8:net.if.in[eth0].last(0)}>6000000 | Network incoming is high | High
net.if.in[eth0,packets]
net.if.in[eth0,errors]
net.if.in[eth0,dropped]
net.if.out[if <,mode>] | ○ | net.if.out[eth0,bytes] | {zabbix1-8:net.if.out[eth0].last(0)}<2000000000 | trigger_network_outgoing | Info |  | Network interface output statistic. Integer value. If mode is missing bytes is used.
|  |  | {zabbix1-8:net.if.out[eth0].last(0)}>2000000000 | trigger_network_outgoing_high | High
net.if.out[eth0,packets]
net.if.out[eth0,errors]
net.if.out[eth0,dropped]
net.if.total[if <,mode>] | ○ | net.if.total[eth0,bytes] |  |  |  |  | Sum of network interface incoming and outgoing statistics. Integer value. Mode - one of bytes (default), packets, errors or dropped
net.if.total[eth0,packets]
net.if.total[eth0,errors]
net.if.total[eth0,dropped]
net.tcp.listen[port] | ○ | net.tcp.listen[10049] | {zabbix1-8:net.tcp.listen[10049].last(0)}=0 | Job arranger agent port[10049] is fail | High |  | Checks if this port is in LISTEN state. 0 - it is not, 1 - it is in LISTEN state.
|  |  | {zabbix1-8:net.tcp.listen[10049].last(0)}=1 | Job arranger agent port[10049] is Up | Info
net.tcp.port[<ip>, port] | ○ | net.tcp.port[172.18.241.76,10049] | {zabbix1-8:net.tcp.port[10.1.9.206].last(0)}=0 | Port 10.1.9.206:80 is down | High |  | Check, if it is possible to make TCP connection to the port number. 0 - cannot connect, 1 - can connect. IP address is optional. If ip is missing, 127.0.0.1 is used. Example: net.tcp.port[,80]
|  |  | {zabbix1-8:net.tcp.port[10.1.9.206].last(0)}=1 | Port 10.1.9.206:80 is up | Info
net.tcp.service.perf[service <,ip> <,port>] | ○ | net.tcp.service.perf[ftp] | {zabbix1-8:net.tcp.service.perf[ftp].last(0)}>0 | Number of seconds for FTP service performance is xxx. |  |  | Check performance of service "service". 0 - service is down, sec - number of seconds spent on connection to the service. If ip is missing 127.0.0.1 is used. If port number is missing, default service port is used.
|  |  | {zabbix1-8:net.tcp.service.perf[ftp].last(0)}=0 | FTP service is Down | High
net.tcp.service[service <,ip> <,port>] | ○ | net.tcp.service[http,,80] | {zabbix1-8:net.tcp.service[http,,80].last(0)}=1 | Apache Listen Port is Up | Info |  | Check if service server is running and accepting connections. 0 - service is down, 1 - service is running. If ip is missing 127.0.0.1 is used. If port number is missing, default service port is used. Example: net.tcp.service[ftp,,45].
|  |  | {zabbix1-8net.tcp.service[http,,80].last(0)}=0 | Apache Listen Port is Down | High
proc.mem[<name> <,user> <,mode> <,cmdline>] | ○ | proc.mem[zabbix_server] | - | - |  |  | Memory used by process with name name running under user user. Memory used by processes. Process name, user and mode is optional. If name or user is missing all processes will be calculated. If mode is missing sum is used. Example: proc.mem[,root]
proc.num[<name> <,user> <,state> <,cmdline>] | ○ | proc.num[httpd] | {zabbix1-8:proc.num[httpd].last(0)}>0 | Apache Process is Up | Info |  | Number of processes with name name running under user user having state state. Process name, user and state are optional. Examples: proc.num[,mysql]; proc.num[apache2,www-data]; proc.num[,oracle,sleep,oracleZABBIX]
|  |  | {zabbix1-8:proc.num[httpd].last(0)}=0 | Apache Process is Down | High
system.boottime | ○ | system.boottime | {zabbix1-8:system.boottime.diff(0)}>0 | System was reboot when {ITEM.VALUE} | Warning |  | Timestamp of system boot.
system.cpu.intr | ○ | system.cpu.intr | {zabbix1-8:system.cpu.intr.count(0)}=0 | trigger_no_cpu_interrupt | Warning |  | Device interrupts.
system.cpu.load[<cpu> <,mode>] | ○ | system.cpu.load[,avg1] | {zabbix1-8:system.cpu.load[,avg1].last(0)}>5 | Processor load is too high on zabbix1-8 | Warning |  | CPU(s) load. Processor load. The cpu and mode are optional. If cpu is missing all is used. If mode is missing avg1 is used. Note that this is not percentage.
|  |  | {zabbix1-8:system.cpu.load[,avg1].nodata(10)}=1 | Processor Load get no data in 10 seconds | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].change(0)}=0 | Processor load change | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].count(#1,0,"eq")}=1 | Processor load no changes. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].max(60)}=0 | Maximum processor load in 1 mins. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].avg(60)}=0 | Average processor load in 1 mins. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].min(60)}=0 | Minimum processor load in 1 mins. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].diff(0)}=0 | Processor load diffenent. | Info
system.cpu.num | ○ | system.cpu.num | {zabbix1-8:system.cpu.num.last(0)}=0 | CPU is down |  |  | Number of available proccessors.
system.cpu.switches | ○ | system.cpu.switches |  |  |  |  | Context switches.
system.cpu.util[<cpu> <,type> <,mode>] | ○ | system.cpu.util[,idle,avg5] | {zabbix1-8:system.cpu.util[,idle,avg5].avg(600)}<30 | Processor Load Idle State under 30% {HOSTNAME} | High |  | CPU(s) utilisation. Processor load in percents. The cpu, type and mode are optional. If cpu is missing all is used. If type is missing user is used. If mode is missing avg1 is used.
|  |  | {zabbix1-8:system.cpu.util[,idle,avg5].avg(600)}>90 | Processor Load Idle State over 90% {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,idle,avg5].avg(600)}>60 | Processor Load Idle State over 60% {HOSTNAME} | Warning
|  | system.cpu.util[,nice,avg5] | {zabbix1-8:system.cpu.util[,nice,avg5].avg(600)}>90 | Processor Load User Level nice Usage is Too High more than 90% on {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,nice,avg5].avg(600)}<40 | Processor Load User Level nice Usage under 40% on {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,nice,avg5].avg(600)}>70 | Processor Load User Level nice Usage become more than 70% on {HOSTNAME} | Warning
|  | system.cpu.util[,system,avg5] | {zabbix1-8:system.cpu.util[,system,avg5].avg(600)}>90 | Processor Laod System Level Usage is Too High more than 90% on {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,system,avg5].avg(600)}<40 | Processor Load System Level Usage under 40% on {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,system,avg5].avg(600)}>70 | Processor Load System Level Usage become more than 70% on {HOSTNAME} | Warning
|  | system.cpu.util[,user,avg5] | {zabbix1-8:system.cpu.util[,user,avg5].avg(600)}>90 | Processor Load User Level Usage is Too High more than 90% on {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,user,avg5].avg(600)}<40 | Processor Load User Level Usage under 40% on {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,user,avg5].avg(600)}>70 | Processor Load User Level Usage become more than 70% on {HOSTNAME} | Warning
system.hostname | ○ | system.hostname | {zabbix1-8:system.hostname.regexp("aclinux")}#1 | Current System Hostname Change : {HOSTNAME} | High |  | Return host name. String value. Example of returned value: www.zabbix.com
|  |  | {zabbix1-8:system.hostname.regexp("aclinux")}=1 | Current System Hostname | Information
system.localtime | ○ | system.localtime[local] , default type = {utc (default), local}] | {zabbix1-8:system.localtime[local].prev(#2)}<{zabbix1-8:system.localtime[local].last(#1)} | previous localtime is less than last localtime | Warning |  | System local time. Time in seconds.
system.run[command,<mode>] | ○ | system.run[hostname,nowait] | {zabbix1-8:system.run[hostname,nowait].last(0)}=0 | System Run Command Fail | High |  | Run specified command on the host.
|  |  | {zabbix1-8:system.run[hostname,nowait].last(0)}=1 | System Run Command Success | Information
|  | system.run[ls -ltr /etc/zabbix/,wait] | {zabbix1-8:system.run[ls -ltr /etc/zabbix/,wait].regexp("zabbix_server.conf")}#1 | System Run Command Result Fail | High
|  |  | {zabbix1-8:system.run[ls -ltr /etc/zabbix/,wait].regexp("zabbix_server.conf")}=1 | System Run Command Result Success | Information
system.swap.in[<swap> <,type>] | ○ | system.swap.in[,pages] |  |  |  |  | Swap in. If type is count - swapins is returned. If type is pages - pages swapped in is returned. If swap is missing all is used.
system.swap.in[,count]
system.swap.out[<swap> <,type>] | ○ | system.swap.out[,pages] |  |  |  |  | Swap out. If type is count - swapouts is returned. If type is pages - pages swapped in is returned. If swap is missing all is used.
system.swap.out[,count]
system.swap.size[<swap> <,mode>] |  | system.swap.size[,used] | {zabbix1-8:system.swap.size[,used].last(0)}=0 | Swap file is not used | High |  | Swap space. Number of bytes. If swap is missing all is used. If mode is missing free is used.
| ○ | system.swap.size[,total] | {zabbix1-8:system.swap.size[,total].last(0)}=0 | Swap is off | High
|  | system.swap.size[,pfree] | {zabbix1-8:system.swap.size[,pfree].last(0)}>0 | Percentage free of swap | Info
|  | system.swap.size[,pused] | {zabbix1-8:system.swap.size[,pused].last(0)}=0 | Percentage used of swap | Info
system.uname | ○ | system.uname | {zabbix1-8:system.uname.diff(0)}>0 | Host information was changed on {HOSTNAME} | Information |  | Returns detailed host information. String value
system.uptime | ○ | system.uptime | {zabbix1-8:system.uptime.last(0)}<600 | {HOSTNAME} has just been restarted | Information |  | System uptime in seconds.
system.users.num | ○ | system.users.num | {zabbix1-8:system.users.num.last(0)}>1 & {zabbix1-8:system.users.num.last(0)}<8 | System used User Numbers exceed 8 | High |  | Number of users connected. Command who is used on agent side.
|  |  | {zabbix1-8:system.users.num.last(0)}> 8 | System used User Numbers less than 8 | Information
vfs.dev.read[device <,type> <,mode>] | ○ | vfs.dev.read[sda,sps,avg5] | - | - | - |  | Device read statistics.
vfs.dev.write[device <,type> <,mode>] | ○ | vfs.dev.write[sda,sps,avg5] | - | - | - |  | Device write statistics.
vfs.file.cksum[file] | ○ | vfs.file.cksum[/etc/passwd] | {zabbix1-8:vfs.file.cksum[/etc/passwd].last(0)}>0 | Change File CheckSum /etc/passwd : {ITEM.VALUE} | Info |  | Calculate check sum of a given file. Check sum of the file calculate by standard algorithm used by UNIX utility cksum. Example: vfs.file.cksum[/etc/passwd]
vfs.file.exists[file] | ○ | vfs.file.exists[/etc/passwd] | {zabbix1-8:vfs.file.exists[/etc/passwd].last(0)}=1 | /etc/passwd file is exists. | Info |  | Check file existance. 0 - file does not exist, 1 - file exists
vfs.file.md5sum[file] | ○ | vfs.file.md5sum[/etc/zabbix/zabbix_agentd.conf] | {zabbix1-8:vfs.file.md5sum[/etc/zabbix/zabbix_agentd.conf].change()}=0 | string of zabbix_agentd.conf with MD5sum is equal | Info |  | Calculate MD5 check sum of a given file. String MD5 hash of the file. Can be used for files less than 64MB, unsupported otherwise. Example: vfs.file.md5sum[/etc/zabbix/zabbix_agentd.conf]
vfs.file.regexp[file,regexp] | ○ | vfs.file.regexp[/etc/zabbix/zabbix_agentd.conf,"[^0-9"] | {zabbix1-8:vfs.file.regexp[/etc/zabbix/zabbix_agentd.conf,"[^0-9"].str("EOF")}=1 | Find starting with [0-9] in zabbix_agentd.conf is not found | Info |  | Find string in a file. Matched string
vfs.file.regmatch[file,regexp] | ○ | vfs.file.regmatch[/etc/zabbix/zabbix_agentd.conf,10049] | {zabbix1-8:vfs.file.regmatch[/etc/zabbix/zabbix_agentd.conf,10049].last(0)}=1 | find 10049 in zabbix_agentd.conf is found | Info |  | Find string in a file. 0 - expression not found, 1 - found
vfs.file.size[file] | ○ | vfs.file.size[/var/log/zabbix/zabbix_agentd.log] | {zabbix1-8:vfs.file.size[/var/log/zabbix/zabbix_agentd.log].last(0)}>400000 | zabbix_agentd.log file size is greater than 400000 bytes | Warning |  | Size of a given file. Size in bytes. File must have read permissions for user zabbix. Example: vfs.file.size[/var/log/syslog]
vfs.file.time[file <,mode>] | ○ | vfs.file.time[/var/log/zabbix/zabbix_agentd.log,modify] | {zabbix1-8:vfs.file.time[/var/log/zabbix/zabbix_agentd.log,modify].diff(0)}>0 | Someone modified /var/log/zabbix_agent.log file | Warning |  | File time information. Number of seconds. The mode is optional. If mode is missing modify is used.
|  | vfs.file.time[/var/log/zabbix/zabbix_agentd.log,access] | {zabbix1-8:vfs.file.time[/var/log/zabbix/zabbix_agentd.log,access].diff(0)}>0 | Someone access /var/log/zabbix_agent.log file | Warning
|  | vfs.file.time[/var/log/zabbix/zabbix_agentd.log,change] | {zabbix1-8:vfs.file.time[/var/log/zabbix/zabbix_agentd.log,change].diff(0)}>0 | Someone changed /var/log/zabbix_agent.log file | Warning
vfs.fs.inode[fs <,mode>] | ○ | vfs.fs.inode[/,total] | {zabbix1-8:vfs.fs.inode[/,total].last(0)}>0 | Total number of inode on {HOSTNAME} volume / is :{ITEM.VALUE} | Info |  | Number of inodes for a given volume. If mode is missing total is used.
|  | vfs.fs.inode[/,free] | {zabbix1-8:vfs.fs.inode[/,free].last(0)}<102200 | Low number of free inodes on {HOSTNAME} volume / | Info
|  | vfs.fs.inode[/,used] | {zabbix1-8:vfs.fs.inode[/,used].last(0)}>919800 | Inode number usage is high on {HOSTNAME} volume / | High
|  | vfs.fs.inode[/,pfree] | {zabbix1-8:vfs.fs.inode[/,pfree].last(0)}<10 | Low number of free inodes on {HOSTNAME} volume / in % | Info
|  | vfs.fs.inode[/,pused] | {zabbix1-8:vfs.fs.inode[/,pused].last(0)}>90 | High Inode number usage on {HOSTNAME} volume / | Info
vfs.fs.size[fs <,mode>] | ○ | vfs.fs.size[/,pused] | {zabbix1-8:vfs.fs.size[/,pused].last(0)}<70 | [SRV.SYS]Disk(/) Usage less than 70% | Info |  | Calculate disk space for a given volume. Disk space in KB. If mode is missing total is used. In case of mounted volume, unused disk space for local file system is returned. Example: vfs.fs.size[/tmp,free].
|  |  | {zabbix1-8:vfs.fs.size[/,pused].count(1050,70,ge)}>3 | [SRV.SYS]Disk(/cmn/data) Usage Over 70% | Info
|  |  | {zabbix1-8:vfs.fs.size[/,pused].count(1050,90,ge)}>3 | [SRV.SYS]Disk(/cmn/data) Usage Over 90% | Info
vm.memory.size[<mode>] | ○ | vm.memory.size[free] | {zabbix1-8:vm.memory.size[free].last(0)}<500000000 | VM memory free size is less than 0.5 giga | High |  | Amount of memory size in bytes. If mode is missing total is used.
|  | vm.memory.size[total] | {zabbix1-8:vm.memory.size[total].last(0)}>0 | VM memory size is:{ITEM.VALUE} | Info
|  | vm.memory.size[shared] | - | -
|  | vm.memory.size[buffers] | - | -
|  | vm.memory.size[cached] | - | -
|  | vm.memory.size[available] | - | -
|  | vm.memory.size[pfree] | - | -
web.page.get[host,<path>,<port>] | ○ | web.page.get[172.18.241.97,"/zabbix/index.php",8000] | {zabbix1-8: web.page.get[172.18.241.97,"/zabbix/index.php",8000].regexp("200")}=1 | Web Page is OK | Info |  | Get content of WEB page. Default path is /
web.page.perf[host,<path>,<port>] | ○ | web.page.perf[10.1.9.69,/zabbix/index.php,80] | {zabbix1-8:web.page.perf[10.1.9.69,/zabbix/index.php,80].last(0)}=0 | Can't load web page | High |  | Get timing of loading full WEB page. Default path is /
|  |  | {zabbix1-8:web.page.perf[10.1.9.69,/zabbix/index.php,80].last(0)}#0 | Zabbix web page loading time:{ITEM.VALUE} | Info
web.page.regexp[host,<path>,<port>,<regexp>,<length>] | ○ | web.page.regexp[10.1.9.69,/zabbix/items.php,8000,OK,20] | {zabbix1-8:web.page.regexp[10.1.9.69,/zabbix/index.php,,OK,20].regexp(OK)}=1 | Zabbix index page is OK | Info |  | Get first occurence of regexp in WEB page. Default path is /
|  |  | {zabbix1-8:web.page.regexp[10.1.9.69,/zabbix/index.php,,OK,20].regexp(OK)}#1 | Zabbix index page is fail | High

## Zabbix_agent (Active)
Items |  |  | Triggers |  |  | Remark
Name | ○/× | Key | Expression | Messages | Severity
log[file,<pattern>,<encoding>,<maxlines>] | ○ | log[/var/log/zabbix/zabbix_server.log,".*[CRIT¦ERROR¦WARN].*",UTF-8,] | (({zabbix1-8:log[/var/log/zabbix/zabbix_server.log,".*[CRIT¦ERROR¦WARN].*",UTF-8,].iregexp(\[ERROR\] .*query failed:.*)})#0) | [SRV.SVK] LOG.jobarg-agentd.log detected High error message. {ITEM.VALUE} | High
logrt[file_format,<pattern>,<encoding>,<maxlines>] | ○ | logrt[/var/log/zabbix/zabbix_server.*,UTF-8,] | (({zabbix1-8:logrt[/var/log/zabbix/svk_opcmsg.*,,UTF-8,].iregexp("\[svk.normal\]")})#0) | - | Info
|  |  | (({zabbix1-8:logrt[/var/log/zabbix/svk_opcmsg.*,,UTF-8,].regexp(^\[SRV.JOB\])})#0) | [SRV.JOB]This jobnet is not executed | High
agent.ping | ○ | agent.ping | {zabbix1-8:agent.ping.nodata(600)}=1 | [zabbix1-8] zabbix.agent stopped. | High
|  |  | {zabbix1-8:agent.ping.nodata(600)}=0 | [zabbix1-8] zabbix.agent started. | Info
agent.version | ○ | agent.version | {zabbix1-8:agent.version.diff(0)}>0 | Version of zabbix_agent(d) was changed on {HOSTNAME} | Average
kernel.maxfiles | ○ | kernel.maxfiles | {zabbix1-8:kernel.maxfiles.last(0)}<512 | Configured max number of opened files is too low on {HOSTNAME} | High
kernel.maxproc | ○ | kernel.maxproc | {zabbix1-8:kernel.maxproc.last(0)}=32768 | Number of max process supported by kernel is :{ITEM.VALUE} | Info
net.if.collisions[if] | ○ | net.if.collisions[eth0] | {zabbix1-8:net.if.collisions[eth0].count(0)}>0 | trigger_network_collision_occur | Warning
net.if.in[if <,mode>] | ○ | net.if.in[eth0,bytes] | {zabbix1-8:net.if.in[eth0].last(0)}<6000000 | Network incoming is normal | Info
|  |  | {zabbix1-8:net.if.in[eth0].last(0)}>6000000 | Network incoming is high | High
net.if.in[eth0,packets]
net.if.in[eth0,errors]
net.if.in[eth0,dropped]
net.if.out[if <,mode>] | ○ | net.if.out[eth0,bytes] | {zabbix1-8:net.if.out[eth0].last(0)}<2000000000 | trigger_network_outgoing | Info
|  |  | {zabbix1-8:net.if.out[eth0].last(0)}>2000000000 | trigger_network_outgoing_high | High
net.if.out[eth0,packets]
net.if.out[eth0,errors]
net.if.out[eth0,dropped]
net.if.total[if <,mode>] | ○ | net.if.total[eth0,bytes]
net.if.total[eth0,packets]
net.if.total[eth0,errors]
net.if.total[eth0,dropped]
net.tcp.listen[port] | ○ | net.tcp.listen[10049] | {zabbix1-8:net.tcp.listen[10049].last(0)}=0 | Job arranger agent port[10049] is fail | High
|  |  | {zabbix1-8:net.tcp.listen[10049].last(0)}=1 | Job arranger agent port[10049] is Up | Info
net.tcp.port[<ip>, port] | ○ | net.tcp.port[172.18.241.76,10049] | {zabbix1-8:net.tcp.port[10.1.9.206].last(0)}=0 | Port 10.1.9.206:80 is down | High
|  |  | {zabbix1-8:net.tcp.port[10.1.9.206].last(0)}=1 | Port 10.1.9.206:80 is up | Info
net.tcp.service.perf[service <,ip> <,port>] | ○ | net.tcp.service.perf[ftp] | {zabbix1-8:net.tcp.service.perf[ftp].last(0)}>0 | Number of seconds for FTP service performance is xxx.
|  |  | {zabbix1-8:net.tcp.service.perf[ftp].last(0)}=0 | FTP service is Down | High
net.tcp.service[service <,ip> <,port>] | ○ | net.tcp.service[http,,80] | {zabbix1-8:net.tcp.service[http,,80].last(0)}=1 | Apache Listen Port is Up | Info
|  |  | {zabbix1-8net.tcp.service[http,,80].last(0)}=0 | Apache Listen Port is Down | High
proc.mem[<name> <,user> <,mode> <,cmdline>] | ○ | proc.mem[zabbix_server] | - | -
proc.num[<name> <,user> <,state> <,cmdline>] | ○ | proc.num[httpd] | {zabbix1-8:proc.num[httpd].last(0)}>0 | Apache Process is Up | Info
|  |  | {zabbix1-8:proc.num[httpd].last(0)}=0 | Apache Process is Down | High
system.boottime | ○ | system.boottime | {zabbix1-8:system.boottime.diff(0)}>0 | System was reboot when {ITEM.VALUE} | Warning
system.cpu.intr | ○ | system.cpu.intr | {zabbix1-8:system.cpu.intr.count(0)}=0 | trigger_no_cpu_interrupt | Warning
system.cpu.load[<cpu> <,mode>] | ○ | system.cpu.load[,avg1] | {zabbix1-8:system.cpu.load[,avg1].last(0)}>5 | Processor load is too high on zabbix1-8 | Warning
|  |  | {zabbix1-8:system.cpu.load[,avg1].nodata(10)}=1 | Processor Load get no data in 10 seconds | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].change(0)}=0 | Processor load change | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].count(#1,0,"eq")}=1 | Processor load no changes. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].max(60)}=0 | Maximum processor load in 1 mins. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].avg(60)}=0 | Average processor load in 1 mins. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].min(60)}=0 | Minimum processor load in 1 mins. | Info
|  |  | {zabbix1-8:system.cpu.load[,avg1].diff(0)}=0 | Processor load diffenent. | Info
system.cpu.num | ○ | system.cpu.num | {zabbix1-8:system.cpu.num.last(0)}=0 | CPU is down
system.cpu.switches | ○ | system.cpu.switches
system.cpu.util[<cpu> <,type> <,mode>] | ○ | system.cpu.util[,idle,avg5] | {zabbix1-8:system.cpu.util[,idle,avg5].avg(600)}<30 | Processor Load Idle State under 30% {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,idle,avg5].avg(600)}>90 | Processor Load Idle State over 90% {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,idle,avg5].avg(600)}>60 | Processor Load Idle State over 60% {HOSTNAME} | Warning
|  | system.cpu.util[,nice,avg5] | {zabbix1-8:system.cpu.util[,nice,avg5].avg(600)}>90 | Processor Load User Level nice Usage is Too High more than 90% on {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,nice,avg5].avg(600)}<40 | Processor Load User Level nice Usage under 40% on {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,nice,avg5].avg(600)}>70 | Processor Load User Level nice Usage become more than 70% on {HOSTNAME} | Warning
|  | system.cpu.util[,system,avg5] | {zabbix1-8:system.cpu.util[,system,avg5].avg(600)}>90 | Processor Laod System Level Usage is Too High more than 90% on {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,system,avg5].avg(600)}<40 | Processor Load System Level Usage under 40% on {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,system,avg5].avg(600)}>70 | Processor Load System Level Usage become more than 70% on {HOSTNAME} | Warning
|  | system.cpu.util[,user,avg5] | {zabbix1-8:system.cpu.util[,user,avg5].avg(600)}>90 | Processor Load User Level Usage is Too High more than 90% on {HOSTNAME} | High
|  |  | {zabbix1-8:system.cpu.util[,user,avg5].avg(600)}<40 | Processor Load User Level Usage under 40% on {HOSTNAME} | Information
|  |  | {zabbix1-8:system.cpu.util[,user,avg5].avg(600)}>70 | Processor Load User Level Usage become more than 70% on {HOSTNAME} | Warning
system.hostname | ○ | system.hostname | {zabbix1-8:system.hostname.regexp("aclinux")}#1 | Current System Hostname Change : {HOSTNAME} | High
|  |  | {zabbix1-8:system.hostname.regexp("aclinux")}=1 | Current System Hostname | Information
system.localtime | ○ | system.localtime[local] , default type = {utc (default), local}] | {zabbix1-8:system.localtime[local].prev(#2)}<{zabbix1-8:system.localtime[local].last(#1)} | previous localtime is less than last localtime | Warning
system.run[command,<mode>] | ○ | system.run[hostname,nowait] | {zabbix1-8:system.run[hostname,nowait].last(0)}=0 | System Run Command Fail | High
|  |  | {zabbix1-8:system.run[hostname,nowait].last(0)}=1 | System Run Command Success | Information
|  | system.run[ls -ltr /etc/zabbix/,wait] | {zabbix1-8:system.run[ls -ltr /etc/zabbix/,wait].regexp("zabbix_server.conf")}#1 | System Run Command Result Fail | High
|  |  | {zabbix1-8:system.run[ls -ltr /etc/zabbix/,wait].regexp("zabbix_server.conf")}=1 | System Run Command Result Success | Information
system.swap.in[<swap> <,type>] | ○ | system.swap.in[,pages]
system.swap.in[,count]
system.swap.out[<swap> <,type>] | ○ | system.swap.out[,pages]
system.swap.out[,count]
system.swap.size[<swap> <,mode>] |  | system.swap.size[,used] | {zabbix1-8:system.swap.size[,used].last(0)}=0 | Swap file is not used | High
| ○ | system.swap.size[,total] | {zabbix1-8:system.swap.size[,total].last(0)}=0 | Swap is off | High
|  | system.swap.size[,pfree] | {zabbix1-8:system.swap.size[,pfree].last(0)}>0 | Percentage free of swap | Info
|  | system.swap.size[,pused] | {zabbix1-8:system.swap.size[,pused].last(0)}=0 | Percentage used of swap | Info
system.uname | ○ | system.uname | {zabbix1-8:system.uname.diff(0)}>0 | Host information was changed on {HOSTNAME} | Information
system.uptime | ○ | system.uptime | {zabbix1-8:system.uptime.last(0)}<600 | {HOSTNAME} has just been restarted | Information
system.users.num | ○ | system.users.num | {zabbix1-8:system.users.num.last(0)}>1 & {zabbix1-8:system.users.num.last(0)}<8 | System used User Numbers exceed 8 | High
|  |  | {zabbix1-8:system.users.num.last(0)}> 8 | System used User Numbers less than 8 | Information
vfs.dev.read[device <,type> <,mode>] | ○ | vfs.dev.read[sda,sps,avg5] | - | - | -
vfs.dev.write[device <,type> <,mode>] | ○ | vfs.dev.write[sda,sps,avg5] | - | - | -
vfs.file.cksum[file] | ○ | vfs.file.cksum[/etc/passwd] | {zabbix1-8:vfs.file.cksum[/etc/passwd].last(0)}>0 | Change File CheckSum /etc/passwd : {ITEM.VALUE} | Info
vfs.file.exists[file] | ○ | vfs.file.exists[/etc/passwd] | {zabbix1-8:vfs.file.exists[/etc/passwd].last(0)}=1 | /etc/passwd file is exists. | Info
vfs.file.md5sum[file] | ○ | vfs.file.md5sum[/etc/zabbix/zabbix_agentd.conf] | {zabbix1-8:vfs.file.md5sum[/etc/zabbix/zabbix_agentd.conf].change()}=0 | string of zabbix_agentd.conf with MD5sum is equal | Info
vfs.file.regexp[file,regexp] | ○ | vfs.file.regexp[/etc/zabbix/zabbix_agentd.conf,"[^0-9"] | {zabbix1-8:vfs.file.regexp[/etc/zabbix/zabbix_agentd.conf,"[^0-9"].str("EOF")}=1 | Find starting with [0-9] in zabbix_agentd.conf is not found | Info
vfs.file.regmatch[file,regexp] | ○ | vfs.file.regmatch[/etc/zabbix/zabbix_agentd.conf,10049] | {zabbix1-8:vfs.file.regmatch[/etc/zabbix/zabbix_agentd.conf,10049].last(0)}=1 | find 10049 in zabbix_agentd.conf is found | Info
vfs.file.size[file] | ○ | vfs.file.size[/var/log/zabbix/zabbix_agentd.log] | {zabbix1-8:vfs.file.size[/var/log/zabbix/zabbix_agentd.log].last(0)}>400000 | zabbix_agentd.log file size is greater than 400000 bytes | Warning
vfs.file.time[file <,mode>] | ○ | vfs.file.time[/var/log/zabbix/zabbix_agentd.log,modify] | {zabbix1-8:vfs.file.time[/var/log/zabbix/zabbix_agentd.log,modify].diff(0)}>0 | Someone modified /var/log/zabbix_agent.log file | Warning
|  | vfs.file.time[/var/log/zabbix/zabbix_agentd.log,access] | {zabbix1-8:vfs.file.time[/var/log/zabbix/zabbix_agentd.log,access].diff(0)}>0 | Someone access /var/log/zabbix_agent.log file | Warning
|  | vfs.file.time[/var/log/zabbix/zabbix_agentd.log,change] | {zabbix1-8:vfs.file.time[/var/log/zabbix/zabbix_agentd.log,change].diff(0)}>0 | Someone changed /var/log/zabbix_agent.log file | Warning
vfs.fs.inode[fs <,mode>] | ○ | vfs.fs.inode[/,total] | {zabbix1-8:vfs.fs.inode[/,total].last(0)}>0 | Total number of inode on {HOSTNAME} volume / is :{ITEM.VALUE} | Info
|  | vfs.fs.inode[/,free] | {zabbix1-8:vfs.fs.inode[/,free].last(0)}<102200 | Low number of free inodes on {HOSTNAME} volume / | Info
|  | vfs.fs.inode[/,used] | {zabbix1-8:vfs.fs.inode[/,used].last(0)}>919800 | Inode number usage is high on {HOSTNAME} volume / | High
|  | vfs.fs.inode[/,pfree] | {zabbix1-8:vfs.fs.inode[/,pfree].last(0)}<10 | Low number of free inodes on {HOSTNAME} volume / in % | Info
|  | vfs.fs.inode[/,pused] | {zabbix1-8:vfs.fs.inode[/,pused].last(0)}>90 | High Inode number usage on {HOSTNAME} volume / | Info
vfs.fs.size[fs <,mode>] | ○ | vfs.fs.size[/,pused] | {zabbix1-8:vfs.fs.size[/,pused].last(0)}<70 | [SRV.SYS]Disk(/) Usage less than 70% | Info
|  |  | {zabbix1-8:vfs.fs.size[/,pused].count(1050,70,ge)}>3 | [SRV.SYS]Disk(/cmn/data) Usage Over 70% | Info
|  |  | {zabbix1-8:vfs.fs.size[/,pused].count(1050,90,ge)}>3 | [SRV.SYS]Disk(/cmn/data) Usage Over 90% | Info
vm.memory.size[<mode>] | ○ | vm.memory.size[free] | {zabbix1-8:vm.memory.size[free].last(0)}<500000000 | VM memory free size is less than 0.5 giga | High
|  | vm.memory.size[total] | {zabbix1-8:vm.memory.size[total].last(0)}>0 | VM memory size is:{ITEM.VALUE} | Info
|  | vm.memory.size[shared] | - | -
|  | vm.memory.size[buffers] | - | -
|  | vm.memory.size[cached] | - | -
|  | vm.memory.size[available] | - | -
|  | vm.memory.size[pfree] | - | -
web.page.get[host,<path>,<port>] | ○ | web.page.get[172.18.241.97,"/zabbix/index.php",8000] | {zabbix1-8: web.page.get[172.18.241.97,"/zabbix/index.php",8000].regexp("200")}=1 | Web Page is OK | Info
web.page.perf[host,<path>,<port>] | ○ | web.page.perf[10.1.9.69,/zabbix/index.php,80] | {zabbix1-8:web.page.perf[10.1.9.69,/zabbix/index.php,80].last(0)}=0 | Can't load web page | High
|  |  | {zabbix1-8:web.page.perf[10.1.9.69,/zabbix/index.php,80].last(0)}#0 | Zabbix web page loading time:{ITEM.VALUE} | Info
web.page.regexp[host,<path>,<port>,<regexp>,<length>] | ○ | web.page.regexp[10.1.9.69,/zabbix/items.php,8000,OK,20] | {zabbix1-8:web.page.regexp[10.1.9.69,/zabbix/index.php,,OK,20].regexp(OK)}=1 | Zabbix index page is OK | Info
|  |  | {zabbix1-8:web.page.regexp[10.1.9.69,/zabbix/index.php,,OK,20].regexp(OK)}#1 | Zabbix index page is fail | High

## Zabbix Sender And Trapper
Items |  |  |  | Triggers |  |  | Remark
Name | type | ○/× | Key | Expression | Messages | Seveirty
Zabbix_Sender.test | zabbix_trapper | ○ | zabbix_sender.test | (({zabbix1-8:zabbix_sender.test.iregexp("major")})#0) | [SRV.SVK] Zabbix_Sender.test received [Major] test message. | Average
|  |  |  | (({zabbix1-8:zabbix_sender.test.iregexp("normal")})#0) | [SRV.SVK] Zabbix_Sender.test received [INFO] test message. | Info
|  |  |  | (({zabbix1-8:zabbix_sender.test.iregexp("critical")})#0) | [SRV.SVK] Zabbix_Sender.test received [CRIT] test message. | High
snmptrap[ENS] | zabbix_trapper | ○ | snmptrap[ENS] | {zabbix1-8:snmptrap[ENS].iregexp (\\\\.1\\\\.3\\\\.6\\\\.1\\\\.6\\\\.3\\\\.1\\\\.1\\\\.5\\\\.5*)}=1 | Authentication(SNMP) : {ITEM.VALUE} | High | Tested with d-link device

## User Parameter
Items |  |  |  | Triggers |  |  | Remark
Name | type | ○/× | Key | Expression | Messages | Seveirty
httpd_status_check | zabbix_agent | ○ | linux.service[httpd] | {zabbix1-8:linux.service[httpd].last(0)}#0 | zabbix1-8]PROCESS DOWN PROCESS Name <http> Process Name(http) | High
|  |  |  | {zabbix1-8:linux.service[httpd].last(0)}=0 | zabbix1-8]PROCESS RECOVERY SUCCESSFUL PROCESS Name <http> Process Name(http) | Info
postgresql-9.1 status | zabbix_agent | ○ | linux.service[postgresql-9.1] | {zabbix1-8:linux.service[postgresql-9.1].last(0)}#0 | zabbix1-8]PROCESS DOWN PROCESS Name <postgresql-9.1> Process Name(postgresql-9.1) | High
|  |  |  | {zabbix1-8:linux.service[postgresql-9.1].last(0)}=0 | zabbix1-8]PROCESS RECOVERY SUCCESSFUL PROCESS Name <postgresql-9.1> Process Name(postgresql-9.1) | Info
zabbix_server status | zabbix_agent | ○ | linux.service[zabbix_server] | {zabbix1-8:linux.service[zabbix_server].last(0)}#0 | zabbix1-8]PROCESS DOWN PROCESS Name <zabbix_server> Process Name(zabbix_server) | High
|  |  |  | {zabbix1-8:linux.service[zabbix_server].last(0)}=0 | zabbix1-8]PROCESS RECOVERY SUCCESSFUL PROCESS Name <zabbix_server> Process Name(zabbix_server) | Info
UserParameter=linux.service[*],(service $1 status && echo "1" ¦¦ echo "2") ¦ sed -n 2p

## Zabbix internal
Items |  |  | Triggers |  |  | Remark
Name | ○/× | Key | Expression | Messages | Seveirty
zabbix[boottime] | ○ |  |  |  |  | Just only collect data and check on latest data
zabbix[items] | ○ |  |  |  |  | Just only collect data and check on latest data
zabbix[items_unsupported] | ○ |  |  |  |  | Just only collect data and check on latest data
zabbix[triggers] | ○ |  |  |  |  | Just only collect data and check on latest data
zabbix[uptime] | ○ |  |  |  |  | Just only collect data and check on latest data
zabbix[log] | ○ |  |  |  |  | Just only collect data and check on latest data
zabbix[queue<,from><,to>] | ○ | zabbix[queue] | {zabbix1-8:zabbix[queue].last(0)}= 0 & {zabbix1-8:zabbix[queue].last(#2)}> 5 | Zabbix Server is no delay | Info
|  |  | {zabbix1-8:zabbix[queue].last(0)}>5 | Zabbix Server is delay Monitoring | Info
zabbix[rcache,<cache>,<mode>] | ○ | zabbix[rcache,buffer,pfree]
zabbix[wcache,<cache>,<mode>] | ○ | zabbix[wcache,history,used] | {zabbix1-8:zabbix[wcache,history,used].last(0)}>30000000 ¦ {zabbix1-8:zabbix[wcache,text,used].last(0)}>30000000 ¦ {zabbix1-8:zabbix[wcache,trend,used].last(0)}>30000000 | Zabbix Cache is Slow Updating and used more than 30MBytes | High
|  |  | {zabbix1-8:zabbix[wcache,history,used].last(0)}>10000000 ¦ {zabbix1-8:zabbix[wcache,text,used].last(0)}>10000000 ¦ {zabbix1-8:zabbix[wcache,trend,used].last(0)}>10000000 | zabbix1-8:Zabbix Server is Slow Updating | Info
|  |  | {zabbix1-8:zabbix[wcache,trend,used].last(0)}<500000 & {zabbix1-8:zabbix[wcache,history,used].last(0)}<500000 & {zabbix1-8:zabbix[wcache,text,used].last(0)}<500000 | zabbix1-8:Zabbix Server is normal cache condition. | Info
|  |  | {zabbix1-8:zabbix[wcache,history,used].last(0)}>20000000 ¦ {zabbix1-8:zabbix[wcache,text,used].last(0)}>20000000 ¦ {zabbix1-8:zabbix[wcache,trend,used].last(0)}>20000000 | Zabbix Cache is Slow Updating and used more than 20MBytes | Average
|  | zabbix[wcache,history,free] |  |  |  | 'Just only collect data and check on latest data
|  | zabbix[wcache,history,pfree] |  |  |  | 'Just only collect data and check on latest data
|  | zabbix[wcache,history,total] |  |  |  | 'Just only collect data and check on latest data
zabbix[wcache,trend,used]
zabbix[wcache,trend,free]
zabbix[wcache,trend,pfree]
zabbix[wcache,trend,total]
zabbix[wcache,text,used]
zabbix[wcache,text,free]
zabbix[wcache,text,pfree]
zabbix[wcache,text,total]

## Simple check
Items |  |  | Triggers |  |  | Remark
Name | ○/× | Key | Expression | Messages | Seveirty
ftp<,port> | ○ | ftp,21 | {zabbix1-8:ftp,21.last(0)}=0 | FTP Service is Down on {HOSTNAME} | High
|  |  | {zabbix1-8:ftp,21.last(0)}#0 | FTP Service is Up on {HOSTNAME} | Info
http<,port> | ○ | http,80 | {zabbix1-8:http,80.last(0)}=0 | HTTP 80 is Down on {HOSTNAME} | High
|  |  | {zabbix1-8:http,80.last(0)}#0 | HTTP 80 is Up on {HOSTNAME} | Info
icmppingloss[<ip>,<count>,<interval>,<size>,<timeout>] | ○ | icmppingloss[172.18.241.99]
icmpping[<ip>,<count>,<interval>,<size>,<timeout>] | ○ | icmpping[172.18.241.98] | {zabbix1-8:icmpping[172.18.241.98].last(0)}#1 | IP_Interface(eth2:172.18.241.98) stopped. | High
|  |  | {zabbix1-8:icmpping[172.18.241.98].last(0)}=1 | IP_Interface(eth2:172.18.241.98) started. | Info
icmppingsec[<ip>,<count>,<interval>,<size>,<timeout>,<type>] | ○ | icmppingsec[172.18.241.99]
pop<,port> | ○ | pop | {zabbix1-8:pop.last(0)}=0 | POP Service is Down on {HOSTNAME} | High
|  |  | {zabbix1-8:pop.last(0)}#0 | POP Service is Up on {HOSTNAME} | Info
smtp<,port> | ○ | smtp | {zabbix1-8:smtp.last(0)}=0 | SMTP Service is Down on {HOSTNAME} | High
|  |  | {zabbix1-8:smtp.last(0)}#0 | SMTP Service is Up on {HOSTNAME} | Info
ssh<,port> | ○ | ssh | {zabbix1-8:ssh.last(0)}=0 | ssh Service is Down on {HOSTNAME} | High
|  |  | {zabbix1-8:ssh.last(0)}#0 | ssh Service is Up on {HOSTNAME} | Info
tcp,port | ○ | tcp,80 | {zabbix1-8:tcp,80.last(0)}=0 | TCP 80 is Down on {HOSTNAME} | High
|  |  | {zabbix1-8:tcp,80.last(0)}#0 | TCP 80 is Up on {HOSTNAME} | Info

## Zabbix aggregate
Items |  |  | Triggers |  |  | Remark
Name | ○/× | Key | Expression | Messages | Seveirty
grpsum["(FX1IOM)IntegratedOperationMonitoring","vfs.fs.size[/,used]","last","0"] | ○ | grpsum["(FX1IOM)IntegratedOperationMonitoring","vfs.fs.size[/,used]","last","0"] | {zabbix1-8:grpsum["(FX1IOM)IntegratedOperationMonitoring","vfs.fs.size[/,used]","last","0"].last(0)}>1073741824 | Total disk space used of host group "(FX1IOM)IntegratedOperationMonitoring" over 1GB. | Average
grpavg["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"] | ○ | grpavg["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"] | {zabbix1-8:grpavg["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"].last(0)}>5 | Processor load is too high on {HOSTNAME} | Average
grpmax["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"] | ○ | grpmax["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"]
grpmin["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"] | ○ | grpmin["(FX1IOM)IntegratedOperationMonitoring","system.cpu.load[,avg1]","last","0"]
The grpsum functionality was not available in Zabbix 1.8 or any other versions of Zabbix.
Notice : check item key ,if not exists or not?

## Calculated
Items |  |  |  | Triggers |  |  | Remark
Name | ○/× | formula | Key | Expression | Messages | Seveirty
cpu.pusable | ○ |  | cpu.pusable | {zabbix1-8:cpu.pusable.count(1050,90,ge)}>3 | zabbix1-8:[SRV.SYS]CPU Usage 90％ (High) | High
|  | 100-last("system.cpu.util[,idle,avg5]") |  | {zabbix1-8:cpu.pusable.last(0)}<80 | zabbix1-8:[SRV.SYS]CPU Usage less than 80％ (Information) | Info
|  |  |  | {zabbix1-8:cpu.pusable.count(1050,80,ge)}>3 | zabbix1-8:[SRV.SYS]CPU Usage Over 80％ (Average) | Average
swap.pusable | ○ |  | swap.pusable | {zabbix1-8:swap.pusable.last(0)}<80 | zabbix1-8:[SRV.SYS]Swap Usage less than 80% (Information) | Info
|  | 100*(last("system.swap.size[,total]")-last("system.swap.size[,free]"))/ last("system.swap.size[,total]") |  | {zabbix1-8:swap.pusable.count(1050,90,ge)}>3 | zabbix1-8:[SRV.SYS]Swap Usage 90％ (High) | High
|  |  |  | {zabbix1-8:swap.pusable.count(1050,80,ge)}>3 | zabbix1-8:[SRV.SYS]Swap Usage Over 80％ (Average) | Average
cpu.load.cpus | ○ | 100-last("system.cpu.load[,avg1]") | cpu.load.cpus | {zabbix1-8:cpu.load.cpus.last(0)}>80 | zabbix1-8:CPU Load is very high. | High
disk.space | ○ | 100*last("vfs.fs.inode[/,free]")/last("vfs.fs.inode[/,total]") | vfs.fs.inode[fs <,mode>]
Notice : check item key ,if not exists or not?

## Web_Monitoring
Items |  |  | Triggers |  |  | Remark
Name | ○/× | Key | Expression | Messages | Seveirty
web.test.rspcode | X | web.test.time[zabbix1-8,Step,resp] | {zabbix1-8:web.test.time[zabbix1-8,Step,resp].last(0)}>3 | Web page is too slow. Response time for step Login is :{ITEM.VALUE} | Info
web.test.rspcode | X | web.test.rspcode[zabbix1-8,Step] | {zabbix1-8:web.test.rspcode[zabbix1-8,Step].last(0)}=200 | Web Page is OK | Info
web.test.in | X | web.test.in[zabbix1-8,Step,bps] | {zabbix1-8:web.test.in[zabbix1-8,Step,bps].last(0)}<10000 | Web application step is slow. Download speed for scenario is :{ITEM.VALUE} | Average
|  | web.test.in[zabbix1-8,,bps] | {zabbix1-8:web.test.in[zabbix1-8,,bps].last(0)}<10000 | Web application Scenario is slow. Download speed for scenario is :{ITEM.VALUE} | Average
web.test.fail | X | web.test.fail[zabbix1-8] | {zabbix1-8:web.test.fail[zabbix1-8].last(0)}#0 | web scenario step {ITEM.VALUE} is Failed. | Average

## SNMPv2 Agent
Items |  |  | Triggers |  |  | Remark | Description
Name | ○/× | Key | Expression | Messages | Seveirty
SNMP.Interfaces.1 |  | SNMP.Interfaces.1 | {DSR-1000:SNMP.Interfaces.1.last(0)}=2 | Interface is down | High | These two item are testing at DSR-1000 in staging environment
|  |  | {DSR-1000:SNMP.Interfaces.1.last(0)}=1 | Interface is up | Info
SNMP.Interfaces.3 |  | SNMP.Interfaces.3 | {DSR-1000:SNMP.Interfaces.3.last(0)}=2 | Interface is down | High
|  |  | {DSR-1000:SNMP.Interfaces.3.last(0)}=1 | Interface is up | Info
snmptrap[ENS] | zabbix_trapper | X | snmptrap[ENS] | {zabbix1-8:snmptrap[ENS].iregexp (\\\\.1\\\\.3\\\\.6\\\\.1\\\\.6\\\\.3\\\\.1\\\\.1\\\\.5\\\\.5*)}=1 | Authentication(SNMP) : {ITEM.VALUE} | High | Tested with d-link device

## items not supported in window
service_state[service] | ○ | service_state[MySQL] | {zabbix1-8:service_state[MySQL].last(0)}=6 | [zabbix1-8] MySQL service stopped | High | Not support in zabbix_1.8
eventlog[logtype,<pattern>,<severity>,<source>,<eventid>,<maxlines>] | ○ | eventlog[application,,,"PostgreSQL",,] | (({zabbix1-8:eventlog[application,,,"PostgreSQL",,].logsource(^PostgreSQL$)})#1) | event log monitoring :{TRIGGER.DESCRIPTION} | Info
|  | eventlog[System,,"Error",,,] | (({zabbix1-8:eventlog[System,,"Error",,,].logsource(^COM Server$)})#1) | Event log Error COM Server Error occur {ITEM.VALUE} | Info
eventlog[System,,,,"10016",]
|  |  | {zabbix1-8:eventlog[System,,,,"10016",].logseverity(0)}=0 | Default log severity of Event log ID occur. | Info
eventlog[logtype,<pattern>,<severity>,<source>,<eventid>,<maxlines>] | ○ | eventlog[System,,"Error",,,] | (({zabbix1-8:eventlog[System,,"Error",,,].logsource(^COM Server$)})#1) | Event log Error COM Server Error occur {ITEM.VALUE} | Info
system.boottime | ○ | system.boottime | {LinuxAgent:system.boottime.diff(0)}>0 | System was reboot when {ITEM.VALUE} |  | Not Support in Window
system.cpu.intr | ○ | system.cpu.intr | {vm_864:system.cpu.intr.count(0)}=0 | trigger_no_cpu_interrupt |  | Not Support in Window Just only collect data and check on latest data
system.cpu.load[<cpu> <,mode>] |  | system.cpu.load[,avg1] | {fx1-iomtap01:system.cpu.load[,avg1].last(0)}>5 | Processor load is too high on fx1-iomtap01 | Info | Not Support in Window
|  |  | {fx1-iom-ap01:system.cpu.load[,avg1].nodata(10)}=1 | Processor Load get no data in 10 seconds | Info
|  |  | {fx1-iom-ap01:system.cpu.load[,avg1].change(0)}=0 | Processor load change | Info
|  |  | {fx1-iom-ap01:system.cpu.load[,avg1].count(#1,0,"eq")}=1 | Processor load no changes. | Info
| ○ |  | {fx1-iom-ap01:system.cpu.load[,avg1].max(60)}=0 | Maximum processor load in 1 mins. | Info
|  |  | {fx1-iom-ap01:system.cpu.load[,avg1].avg(60)}=0 | Average processor load in 1 mins. | Info
|  |  | {fx1-iom-ap01:system.cpu.load[,avg1].min(60)}=0 | Minimum processor load in 1 mins. | Info
|  |  | {fx1-iom-ap01:system.cpu.load[,avg1].diff(0)}=0 | Processor load diffenent. | Info
system.swap.in[<swap> <,type>] | ○ | system.swap.in[,pages] |  |  |  | No supported in window Just only collect data and check on latest data
system.swap.in[,count]
system.users.num | ○ | system.users.num | {template_aclinux:system.users.num.last(0)}>1 & {template_aclinux:system.users.num.last(0)}<8 | System used User Numbers exceed 8 | High | Not supported in window
|  |  | {template_aclinux:system.users.num.last(0)}> 8 | System used User Numbers less than 8 | Information